## Slide 1: Physics 320: Telescopes and Detectors (Lecture 5)
Dale Gary
NJIT Physics Department

## Slide 2: Optical Telescope Types
Optical telescopes use either a lens or mirror to collect and focus light.
There are two basic types, depending on whether the main element, or objective, is a lens (refracting telescope) or a mirror (reflecting telescope), but there are many subtypes.
Although telescopes magnify what they see, the main purpose is not magnification, but collecting light.
from
Sky & Telescope

## Slide 3: Optics and Ray Tracing
Simple ray tracing techniques exist for determining for a given optic (either a lens or a mirror) where an image forms, given an image distance. The method is illustrated in the diagrams below.
The relationship is given by the formula:
Geometric optics ray tracing for a thin lens. Given the focal distance f, and the object distance p, one can determine the distance to the image q, geometrically.
The rules are simple: parallel rays go through the focus, and rays through the center of the lens do not bend.
Geometric optics ray tracing for a mirror works the same way.
The rules are: parallel rays go through the focus, and rays that hit the center of the mirror bounce off symmetrically.
p
q
parallel ray
parallel ray
center ray
parallel ray
parallel ray
center ray
p
f
q
f

## Slide 4: Len-Maker’s Formula
Another important formula is the lens-maker's formula:
where nl is the index of refraction at wavelength l, and R1 and R2 are the radii of curvature of the lens (negative radius for a diverging lens). Note that this formula assumes the lens is in a vacuum (works approximately for air). If the lens is in a medium with index of refraction n0, the full equation is
Note that the index of refraction depends on wavelength (see http://refractiveindex.info/), so in general a lens will have a different focal length for red light (l ~ 750 nm) than for blue light (l ~ 450 nm). This causes chromatic aberration, which can be combatted by using an achromatic doublet, or an apochromatic triplet lens. An important property of mirrors is that all wavelengths are reflected the same, so mirror-based telescopes do not suffer from chromatic aberration.

## Slide 5: Converging Lens Example
A converging lens with index of refraction n = 1.37 has two surfaces of radii R1 = 0.25 m and R2 = . What is its focal length?
Ans: Use lens-maker’s formula
An object is placed 1.5 m in front of the lens. Where is the image formed?
Ans: Use focus formula
Accurately sketch the rays for this situation.
Ans:
p = 1.5 m
f = 0.676 m
q = 1.23 m
object
image

## Slide 6: Diverging Lens Example
A diverging lens with index of refraction n = 1.45 has two surfaces of radii R1 = -0.5 m and R2 = -0.2 m. What is its focal length?
Ans: Use lens-maker’s formula
An object is placed 0.5 m in front of the lens. Where is the image formed?
Ans: Use focus formula
Accurately sketch the rays for this situation.
Ans:
Note, a negative distance means a virtual image
p = 0.5 m
f = 0.317 m
q = 0.194 m
object
image

## Slide 7: Focal Plane and Plate Scale
An important number for a telescope's main lens or mirror (called an objective), is its f-ratio, which is simply the ratio of the focal length to the diameter D of the objective .
For optical telescopes, a typical f-ratio is about 10. (For radio telescopes, it is usually less than 1, typically 0.4. Why do you think that might be?)
In the sketch above, for a large f-ratio system, astronomers expect to place a detector, such as a CCD camera at the focal plane. For a displacement dy at the focal plane, light falling on that location will come from a slightly different angle in the sky, dq, as shown in the drawing. For small angles, these are related by dy = fdq.
The plate scale (sky angle per unit length at the focal plane) is just
Example: A telescope of 8” aperture has an f-ratio of 10. How large will the Moon appear at the focal plane?
Ans: The Moon is ½ degree across (0.0087 rad), so
dq
dy
f

## Slide 8: Light-Gathering Power of Telescopes
You will often hear someone ask, "What power is that telescope?". This is a relatively meaningless question, and indicates someone who does not understand the principles of optics. Do not be one of these people! Their confusion is understandable--low-end telescopes are often advertised by their "power," by which is meant their magnification factor. You will never see a true astronomical telescope advertised this way.
What is really important is the light-gathering power of a telescope, not its magnification. The light-gathering power is important, because this is what limits how faint an object one can see. The larger the area of the objective, pD2/4, the larger the amount of light gathered. The light-gathering power is not a fixed number, but is expressed in comparison with another optical system, say your eye. Your pupil has a maximum size of about 0.5 cm, so the light-gathering power of an 8" telescope (diameter 20.3 cm) is
The main function of the telescope is to take all of this light and concentrate it into your eye (or an equivalent camera). In this case, a telescope would gather 1650 times as much light as your naked eye.

## Slide 9: Resolving Power of Telescopes
A second important measure of a telescope also scales with its aperture--the resolving power. This depends on the wavelength of light that we are trying to image, and is given in angular units, radians, by
(diffraction limit)
The factor of 1.22 is due to the fact that the aperture is circular. For a rectangular aperture the factor would be 1.0, but grinding rectangular lenses is not easy!
Example:
What is the resolving power of our 8-inch telescope in the optical (l ~ 500 nm)?
Ans: 8 inches is 20.3 cm, or 0.203 m, so the resolving power would be:
Note, however, that the atmosphere usually limits the resolution to about 1", so having a telescope much larger than 8" does not help in resolution unless we either are above the atmosphere or can correct for the atmosphere. A larger telescope does, however, help in light-gathering power.

## Slide 10: What About Magnification?
As it turns out, any telescope can be any magnification power! It does not depend at all on the aperture, or size, of the telescope. The magnification only depends on the ratio of the focal length of the objective f and the focal length of the eyepiece fe:
Common eyepieces for telescopes are 26 mm and 12.5 mm. An f/10 telescope of 8" aperture (203 mm) would provide corresponding magnifications of 78X and 162X for these two eyepieces. However, you could get the same magnifications with a 2" telescope simply by using eyepieces of 6.5 mm and 3.1 mm focal length. This is why asking what "power" a telescope has is not too meaningful. Any telescope can have any power, depending on the eyepiece you choose.

## Slide 11: Detectors
Three types of detectors have historically been used in optical astronomy:
  Photographic Film
  Photomultiplier Tubes
  Digital detectors: Charge-Coupled Devices (CCDs), or CMOS sensors
The last type, the CCD, has for most astronomical applications replaced the other two (even in ordinary photography, with the rapid advances in digital cameras). One reason is "quantum efficiency" or QE. This expresses the ability of the detector to respond to photons, or light-quanta. The human eye has a QE of about 1%, meaning that for every 100 photons that fall on our retina, only one is detected. Photographic film has a similar QE, about 1%. Photomultipliers have an efficiency between 10 and 20%. In contrast, CCDs have much higher efficiencies, close to 100% in the red region of the spectrum. CMOS sensors have lower sensitivity and more noise than CCD, so are not used as much for astronomy.
Another reason for the increasing importance of CCDs is the large form-factors now available—commercial CMOS cameras are in the 40-50 megapixel range. The LSST CCD camera has 3200 MP!

## Slide 12: CCD Cameras
CCDs have other advantages as well. They are linear devices, so that they give a precise measure of the number of photons falling on each pixel, over a very large range in brightness. Ultimately, however, the pixels (quantum wells) will fill up, and the device saturates. The electrons then spill over into neighboring pixels. The image shows an example of such saturation.
CCDs also have the advantage of being purely digital, so they can be controlled easily with computers, and their data can be manipulated digitally.

## Slide 13: Signal-to-Noise Ratio
Photons obey Poisson statistics, meaning that the arrival of photons into a given pixel is a random process, but always positive (there are no negative photons). The statistical fluctuations in the mean number of photons <N > have a standard deviation given by s = <N >1/2. Thus, the signal to noise ratio is S/N = <N >/s = <N >1/2.
The mean number of photons detected by a CCD pixel will depend on the photon flux (photons per second) x the integration time Dt x the quantum efficiency, so the signal to noise becomes:
For a given quantum efficiency, we can increase the signal to noise by increasing the integration time. However, to double the S/N, we must increase the integration time by a factor of 4.

## Slide 14: Astronomical Telescopes Today
The graphic at right compares diameters of telescopes, both historically and now under development.
In the US (with many international partners), the Giant Magellan Telescope (GMT) and the Thirty Meter Telescope (TMT) are now being built, for the purpose of attaining a larger collecting area, so that fainter and more distant objects can be studied.
The Large Synoptic Survey Telescope (LSST) is also now being built. It is not as large, but has a different goal, to image the entire sky continuously.

## Slide 15: Other Wavelengths
The Earth’s atmosphere and ionosphere absorb much of the electromagnetic spectrum, allowing only visible light and some radio wavelengths through.
Yet there is a lot of physics to be learned about astronomical objects in these other wavelengths, such as the images of the Milky Way at right.
To study them, we have to go to space. We now have many observatories in space measuring gamma rays, X-rays, Ultraviolet and Infrared “light.”
One can also avoid atmospheric smearing by putting optical telescopes in space.

## Slide 16: Telescopes at Other Wavelengths
From Imagine the Universe

## Slide 17: What We’ve Learned
Know the differences in the two main types of telescopes, refracting and reflecting telescopes.
Know the fundamental relationship for an optic (lens or mirror) connecting focal length, image distance, and object distance.
Know the lens-maker’s formula and how to use it to solve problems.
Know the basics of graphically sketching (ray tracing) of optical elements.
Be familiar with the principle measures for telescopes, and how to calculate them:
  f-ratio
  Plate scale
  Light-gathering power
  Resolving power
  Magnification factor
  Signal to noise (for CCDs)
Understand the importance of space telescopes, and observing at other wavelengths.