## Slide 1: Digital mammographic tumor classification using transfer learning from deep convolutional neural networks
Paper by: Benjamin Q. Huynh, Hui Li, Maryellen L. Giger
Presented by: Jeremy Hui

## Slide 2: IntroDUCTION
Breast cancer – 2nd most common cancer diagnosed in women in the United States
Occurs when breast cells grow abnormally
Lesion – an area of abnormal tissue
CADe (detection – marking structures and sections) and CADx (diagnosis – evaluation of structures)

## Slide 3: Computer-aided diagnosis (CADx)
Used in various radiological image analysis and precision medicine
To diagnose breast cancer using classification algorithms (lesion malignant or benign)
Lesion classification based on features extracted from image data

## Slide 4: Approaches
Traditional
  Extract clinically specified tumor features (e.g. shape and density)
  Estimate malignancy probabilities based on hand-crafted lesion features
Alternative
  Learn features directly from full images through methods (e.g CNN)
  Yield hidden features with more information

## Slide 5: Approach
Breast imaging CADx system based on deep neural networks with transfer learning
  Transfer Learning is the reuse of a pre-trained model on a new problem
  Hypothesized that structures within a CNN trained on everyday objects could be used to create a classifier for breast cancer CADx
  Training CNNs from scratch limited by size and labels of data, computational resources

## Slide 6: Approach
  Pretrained CNN-extracted features (automatically)
  Analytically extracted CADx features (manual)
  SVM classifiers trained on each set
  Ensemble classifier trained on both
  ROC analysis and cross validation used to evaluate

## Slide 7: DATA
Obtained from University of Chicago Medical Center
219 lesions on full-field digital mammography images
607 region of interest (ROI) extracted
512 x 512 box cropped around center, pixel size of 0.1mm
Number of ROIs per lesion varied between 1 – 13
Labeled as benign or malignant based on pathologic reports

## Slide 8: Method A:Pretrained CNN Features
Publicly available version of AlexNet
Pretrained on ImageNet dataset (1M images and 1K classes)
Weights are preinitialized
11 layers from which features can be extracted
Zero-variance columns removed
Trained SVM classifiers using features from each layer

## Slide 9: AlexNet

## Slide 11: Method B: Analytically Extracted Features
Center of lesion manually indicated and automatic lesion segmentation performed within 512 x 512 ROI
  H. Li et al., “Evaluation of computer-aided diagnosis on a large clinical full-field digitalmammographic dataset,” Acad. Radiol. 15(11), 1437– 1445 (2008)
Image features extracted (includes size, shape, intensity (e.g contrast and texture) and margin (e.g sharpness))
SVM classifier trained on extracted features

## Slide 12: Method C: Ensemble Classifier
Outputs from both individual classifers (A&B) combined
Soft voting technique used
Soft voting output computed as
          p3 = [(p1 + p2)/2]
  where p1 and p2 are output probability vectors from the individual classifiers

## Slide 13: Classification
Preprocessing – centering and scaling each feature to have zero mean and unit variance
Classification – polynomial kernel defined as K(x,y) = (axTy +c)d
Parameters a,c,d selected using cross validated grid-search with five folds

## Slide 14: Evaluation
Receiver Operating Characteristics (ROC) analysis used to evaluate classifiers
Area under Curve (AUC) used as performance metric
Cross – validation conducted by lesion instead of ROI
T-tests to test for statistical significance between AUC scores with Bonferroni corrections

## Slide 15: Results: Layer Comparisons

## Slide 16: Results: Layer Comparisons
Peaks in performance at Conv4 layer
Drops in performance after FC6 layer
Difference in AUC small (0.81 vs 0.83)
FC6 layer chosen as optimal layer
  High predictive performance and low dimensionality
  FC6 (3795 x 1) vs Conv4 (79587 x 1)

## Slide 17: Model Comparison and Evaluation

## Slide 18: Model Comparison and Evaluation
Ensemble classifier better than classifer based on analytically extracted features after Bonferroni Correction
AUC = 0.86 vs AUC = 0.81, p = 0.022

## Slide 19: Previous Works
CNN – extracted features
  Y. Bar et al., “Chest pathology detection using deep learning with non- medical training,” in 2015 IEEE 12th Int. Symp. on Biomedical Imaging (ISBI), pp. 294–297, IEEE (2015).
  Y. Anavi et al., “A comparative study for chest radiograph image retrieval using binary texture and deep learning classification,” in 2015 37th Annual Int. Conf. of the IEEE Engineering in Medicine and Biology Society (EMBC), pp. 2940–2943, IEEE (2015).
Ensemble methods
  H. Wang et al., “Mitosis detection in breast cancer pathology images bycombining handcrafted and convolutional neural network features,” J. Med. Imaging 1(3), 034003 (2014)

## Slide 20: Limitations
Large, annotated images required
CNNs trained for specific task might achieve better results
Pretrained CNN restricts to original architecture
Simplicity was key with regards to CNN and ensembling technique

## Slide 21: Conclusion and future improvements
Transfer learning from nonmedical tasks can improve current methods of classification for CADx
Comparison between CNN extracted features and human designed features allow for better interpretation of CADx output
Other networks known for transfer learning could be used
  K. Simonyan and A. Zisserman, “Very deep convolutional networks for large-scale image recognition,” arXiv preprint arXiv:1409.1556 (2014)
Explore how different classifiers relate to specific physical qualities of lesions