The Measurement of Membrane Capacitance in Multi-compartment Cells

Arif Patel

Math 491

Prof. Nadim, Prof. Golowasch, Prof. Bose

December 18, 2006

Abstract

Membrane capacitance (Cm) is a fundamental property of neurons.  It affects some of the electrical properties of a neuron and is indicative of the size of the cell.  A major problem facing current electrophysiology research is a discrepancy in the measured value of Cm of neurons provided by different methods.  Different experimental techniques for measuring Cm vary in the result they provide by a magnitude of an entire order.  The discrepancy in the measurements may be due to the complex morphology of neurons.  We used the techniques of current clamp steps, voltage clamp steps, and voltage ramp steps on intracellular recordings of stomatogastric cells of the crab Cancer borealis.  We analyzed three compartmentalized models of the cell which were varied in size and shape.  An evaluation of the accuracy of the three methods applied to the three models is provided here.

Introduction

Cell membranes are made up of a phospholipid bilayer.  The phospholipid bilayer regulates the passage of material in and out of the cell.  It is selectively permeable to the flow of certain molecules and ions, and thus, it tends to separate ions on its interior and exterior surfaces.  This separation of charges gives cell membranes their property of capacitance.

Membrane capacitance (Cm) is proportional to the surface area of a cell, which is an indicator of the size of the cell.  It affects some the electrical properties of a neuron such as synaptic integration and the propagation of electrical signals.  Despite the relevance of this fundamental property, there is currently no single method of measuring Cm that has been proven to be accurate.

Three commonly used methods of measuring Cm are the methods of current step in current clamp mode and voltage step and voltage ramp in voltage clamp mode.  The current step method entails charging the membrane potential by the injection of a constant amount of current into the cell.  The voltage step method involves maintaining the voltage of the cell membrane at a constant value that differs from the resting potential, and voltage ramp experiments involve changing the voltage of the cell at a constant rate.  The values of Cm that these three methods provide vary in magnitude by an order.

The problem of attaining accurate measurements of electrical parameters may be due to the neuron’s complex architecture.  Neurons typically contain multiple branches of dendrites of different sizes.  A complete model of a neuron entails its reconstruction, which would then be compartmentalized and matched with the appropriate parameters to simulate the cell’s electrical activity.  Certain simplifications can be made to make this process easier.  A common practice is to lump all of the dendrites into a single compartmentalized cylinder of finite length.  A simple model would consist of a spherical compartment representing the soma attached to a cylindrical dendritic body by means of a cylindrical cable.  The model would consist of a series of RC circuits: one for the soma, one for each dendritic compartment, and for each compartment of the cable.  This model can be further simplified by collapsing all of the dendritic compartments into a single spherical compartment and by replacing the cable with a resistor that represents the axial resistance of a cell.

In this study, we applied the three electrophysiological methods to passive cells of the stomatogastric ganglion (STG) of the crab Cancer borealis.  Passive neurons are cells whose voltage dependent ion channels have been pharmacologically blocked, halting action potentials from firing.  Blocking the voltage dependent ion channels eliminates the voltage dependency of the membrane and by analogy to electrical circuits, effectively reduces a cell membrane to an RC circuit.  The mathematical equations that describe an RC circuit could be applied to a passive cell membrane.  Passive cells are often used in experimentation because they make it easier to measure capacitance.

We analyzed models of passive neurons whose voltage and current transients matched those of the cells we studied.  We tested a two-compartment model in which the dendritic body was lumped into a single isopotential sphere that was connected to a spherical isopotential somatic compartment by means of a resistor.  In our second model, we transformed the resistor into a cylindrical cable by giving it both an axial resistance and a membrane resistance, thereby simulating a cable that leaks current through its membrane.  In our third model, we expanded the spherical dendritic compartment into a compartmentalized cylinder.  We assumed Rm (membrane resistance) and Cm to be constant throughout the cell to simplify the calculations.

In our model simulations, we found the current step method to be the only method to provide accurate results, while the voltage step method provided the least accurate results.  The voltage ramp method provided results that were more accurate than the voltage step method but less accurate than the current step method.

Methods and Materials

Electrophysiological Methods

1.  Current Step (in Current Clamp)

The current step method entails the injection of a rectangular step of current into a cell. The resulting change in membrane potential is called a charging curve.  When positive current is injected into the cell, the voltage change of the membrane is positive, and when negative current is injected into the cell, the voltage change is negative.  In a spherical isopotential cell, the charging curve can be fitted by a single exponential function given by either equation (1) if positive current is injected into the cell or equation (2) if negative current is injected into the cell.

(1)

(2)

(3)

V0 in these equations is the resting potential of the cell, and V1 provides the change in membrane potential.  The time course of the charging curve is given by the parameter τm, which is the time constant of the cell.  As shown in equation (3), τm is equal to the product of the membrane resistance and membrane capacitance.  Membrane resistance can be determined using Ohm’s law; it is the change in the voltage of the membrane divided by the amount of current injected into the cell.  The parameters τm and Rm can be applied to equation (3) to calculate the value of Cm for a spherical isopotential cell.

Figure 1: The charging curve of a spherical isopotential cell subjected to a negative rectangular step current can be fitted to a single exponential function.  The voltage change can be calculated using Ohm’s Law.

Neurons are not spherical and isopotential, so a single exponential function provides an insufficient fit to their charging curves.  The charging curve for a nonisopotential cell is better represented by a two-exponential function.  Equation (4) can be used to fit the charging curve of a cell subjected to a positive current injection, and equation (5) could be used to fit the charging curve of a cell subjected to a negative current injection.  V0 in these equations is the resting potential of the membrane, and V1 and V2 provide the contribution of each term to the charging curve.  The τ’s are the charging constants.

(4)

(5)

When a nonisopotential cell is subjected to a current step, two distinct processes of equalizing and charging the cell membrane occur simultaneously.  The equalizing process occurs rapidly and is represented by the term that contains the smaller value of τ.  The charging of the membrane is the slower of these two processes, and it is represented by the term that contains the larger value of τ.  The larger τ is equal to τm.  The value of the coefficient V corresponding to the larger τ provides the change in the membrane potential contributed by the charging process.  This value of V could be applied to Ohm’s law to determine Rm.  τm and Rm could be applied to equation (3) to determine the capacitance of a nonisopotential cell.

Figure 2: The charging curve of a nonisopotential cell subjected to a negative rectangular step current can be fitted to a two exponential function.   The voltage change can be calculated using Ohm’s Law.

2.  Voltage Step (in Voltage Clamp)

The voltage step method is the most widely used method.  It entails a sudden change in the voltage of the cell to a value that differs from its resting potential.  This change in the voltage of the cell requires a continuous injection of current that is initiated by a large, brief current pulse.  This large initial current injection is due to the capacitance of the cell membrane.

The charge on a capacitor is given by the relation,

(6)

where Q is the accumulation of charge on the capacitor.  Capacitive current, represented below by Ic, is defined as the rate of change of charge accumulation on the membrane, so

(7)

since C is a constant.  Equation (7) shows that a large value for dV/dt will result in a large capacitive current injection into the cell.  Ic is often referred to as a capacitive artifact.

The current vs. time graph obtained in a voltage clamp experiment represents the sum of the capacitive current and the resistive current.  The total capacitance is given by the equation:

(8)

Since voltage and current follow a linear relationship in passive cells, the resistive current graph could be obtained by scaling the charging curve to the current curve.  Then the plot of Ic could be obtained by subtracting the resistive current plot from the total current plot.  It follows from equation (7) that Q could be determined by computing the area of the current graph encompassed by the capacitive artifact.  Q and ΔV could be applied to equation (6) to determine Cm.

Figure 3:  A change in the voltage of a cell membrane introduces a capacitive artifact in the current graph.  The area of the current graph encompassed by the capacitive artifact is equal to the amount of charge accumulated on the capacitor.

3.  Voltage Ramp (in Voltage Clamp)

The voltage ramp method entails varying the voltage of the membrane at a constant rate.  The shape of the voltage pulse is triangular.  Since the resistive component of current injection is linearly dependent on the voltage of the membrane in passive cells, current must be injected into the cell at a rate that is proportional to the rate at which the voltage is being varied.  In the current vs. time graph, the capacitive current contributes a sudden change in the total current graph when there is a change in dV/dt.  The capacitive current could be measured from the total current plot.  The values of Ic and dV/dt could be applied to equation (7) to calculate the value of Cm.

Figure 4: A change in dV/dt introduces sudden changes in the current graph.  These changes represent the capacitive current.

Experimental Procedure

The method for STG isolation used in this study was outlined by Golowasch and Marder.  Crabs were obtained from a local fish market and stored in seawater aquaria at approximately 12ºC.  Prior to dissection, the crabs were sedated by being submerged in ice for about 15 – 20 minutes.  The STG was isolated, desheathed, and pinned to a silicone elastomer - lined petri dish where it was superfused with Cancer saline.  The Cancer saline composition was (in mM) NaCl, 440; KCl, 11; CaCl2, 13; MgCl2, 26; maleic acid, 5; trizma base, 11; pH 7.4-7.5.  TTX (10^-7M) was added to the saline in order to prevent spontaneous action potentials from firing.  The two microelectrodes used to impale the cells were pulled using the Flaming/Brown Micropipette puller (Sutter Instruments Co.).  One microelectrode was used for current injection and the other was used for recording voltage changes.  Current injection and voltage recordings were done in the soma.  The resistances of the microelectrodes varied between 20-30 MΩ.  They were filled with a 0.6M K2SO4 + 20mM KCl solution.

Measurements were taken using an Axoclamp-2B (Axon Instruments, Foster City, CA) feedback amplifier.  For the current step method, rectangular steps of -2nA of current were injected into the cell.  For the voltage step method, the magnitude of the voltage change was -20 mV with respect to the resting voltage.  The gain was adjusted so that the change in voltage curve resembled a rectangular step as closely as possible.  For the voltage ramp method,  was 0.1V/s.  For each method, negative current injections were used in order to prevent spontaneous electrical activity from occurring.  Multiple sweeps were taken for each trial for all three methods.  The especially noisy sweeps were deleted while the remaining sweeps were averaged in order to minimize the noise to signal ratio.  The signals were processed using the pClamp9.2 software package (Axon Instruments).  Clampex9.2 was used for the current recordings and Clampfit9.2 was used for the analysis.

Current Step Experiments

A modified version of the current step method was used in the experiments.  The charging curve that was recorded in these experiments was fitted by the three-exponential function:

(9)

The three exponential fit provided an improvement over the two exponential fit.  The points on the plot that were recorded within three times the smallest time constant of the onset of the current injection were discarded because they represented the rapid influx of current that equalized the cell membrane.  The remaining points, which represented the charging process, were again fitted to the single exponential function given by equation (2), from which the value of τm was determined.  The voltage change was given by the amplitude of the signal represented by the remaining points.

Model Simulations

We used three levels of modeling to test the three methods.  The first model, called the two-compartment model, consisted of two spherical isopotential compartments coupled to a resistor.  One sphere represented the soma, and the other sphere represented the entire dendritic body of the cell lumped into a single compartment.  In the second model, called the ball and cylinder model, we connected the two spheres by a cylinder that was divided into 10 compartments.  The cylinder represented a cable that contained both an axial and membrane resistance.  In the third model, called the two-cylinder model, the dendritic compartment was represented by a 10-compartment cylinder.  In all three models current injections and voltage recordings were taken at the soma to replicate experimental conditions.

To simplify our models, we made several assumptions.  We assumed the internal resistance, the membrane resistance, and the membrane capacitance to be constant throughout the cell.  Also, we neglected the radial current within the cell.

An algorithm for analyzing each model was written in XPP (Ermentrout 2002), a program that solves ordinary differential equations.  For the current step method, the exponential fits were obtained using the program Origin6.1 (OriginLab Corporation 1991-2000).  A value of 1 nA was used for iext.  For the voltage step method, the integration of the capacitive artifact was carried out in Matlab 7.0 (The MathWorks, Inc. 1984-2004) using the trapezoidal method.  For the voltage ramp method,   was 0.08 V/s unless otherwise noted.

| Table 1. Parameter Values for Model Simulations |
| --- |
| Parameter | Description | Value/Formula | Units |
| Rs,d,m | Membrane resistance |  | Ω |
| Cs,d,m | Membrane capacitance |  | F |
| Ri | Axial resistance for unit length |  | Ω-cm |
| Rspecific | Specific membrane resistivity | 40,000 | Ω- cm |
| Cspecific | Specific membrane capacitance | 0.001 | mF/cm |
| Ri,specific | Specific intracellular resistivity | 100 | Ω-cm |
| ds,d,c | Diameter of soma, dendrite,cable | varied | cm |
| l | Length of cable | varied | cm |
| iext | Applied current | varied | nF |
| Vr | Resting voltage | 0 | mV |

Two-Compartment Model

Figure 5: Schematic representation of the two-compartment model of the cell

(10)

(11)

These equations provide the voltage change in each compartment of the two-compartment model.  The voltage change in each compartment is directly proportional to the difference between the current flowing into the compartment and the current flowing out of the compartment either into the other compartment or out of the cell through the membrane.  Also, the voltage change in each compartment is inversely proportional to the membrane capacitance of that compartment.

Multi-Compartment Models

Figure 6: Schematic representation of the ball and cylinder model of the cell

Figure 7: Schematic representation of the two-cylinder model of the cell

Figure 8: Current flowing into and out of a compartment in the multi- compartment models

(12)

The equations for the multi-compartment models are similar to those of the two compartment model.  For these models, the compartments were indexed by the letter j.  The voltage change in the  compartment is directly proportional to the difference between the current flowing into the compartment and the current flowing out of the compartment either into the next compartment or out of the cell through the membrane.  Also, the voltage change in each compartment is inversely proportional to the membrane capacitance of that compartment.

Results

Experimental

The means and standard deviations of the in vivo capacitance measurements taken across eight STG neurons using the three experimental methods are given in the table below.  For the current step method, two of the samples were discarded because the recordings contained a large amount of noise, which made the analysis difficult.  The large variance in the current clamp measurements is due to variation in the parameters that were obtained from the exponential fits. The variation may be due to the large noise to signal ratio.  These results show that the different methods do in fact produce different results.

Table 2: Mean and Standard Deviation of Experimental Results (units of nF)

| Current Step (n=6) | Voltage Step (n=8) | Voltage Ramp (n=8) |
| --- | --- | --- |
| 23.68 17.73 | 2.87 0.67 | 2.72 0.55 |

Models

The accuracy of the three methods for measuring Cm when applied to the three models while varying the sizes of the compartments is shown in the plots that follow.  The percent actual capacitance was defined as the percent ratio of the measured value of Cm to the actual value of Cm.  It is used as a measure of the accuracy of the methods.  The actual value of Cm refers to the parameter that was chosen for the model simulations.

(13)

In the two-compartment model, the diameter of the dendritic compartment () was varied from 0.0005 cm to 0.06 cm while the diameter of the somatic compartment () was 0.04 cm.  The percent actual capacitance of the current step method was 100% across all values that were tested.  The voltage step and voltage ramp methods provided accurate results only for small values of.  As  increased, this accuracy decreased more rapidly for the voltage step method.  Overall, the voltage ramp method was more accurate than the voltage step method.  For the voltage ramp method, two different values for dV/dt were used.  Decreasing dV/dt from 4 V/s to 0.8 V/s provided more accurate results.

In the same model, the length (l) of the connecting resistor was varied from 0.02 cm to 1.0 cm while  and  were 0.04 cm.  The percent actual capacitance of the current step method was 100% across all lengths that were tested.  When l was varied, the voltage step method again was the least accurate method, and the accuracy of the voltage ramp method was an intermediate between the accuracy of current step and voltage step methods.

Figure 9: The three methods were tested on the two-compartment model. The plot on the left depicts the effect of increasing the diameter of the dendritic compartment on the accuracy of the three methods. The plot on the right depicts the effect of increasing the length of connecting resistor on the accuracy of the three methods.

In the ball and cylinder model, the surface areas of the somatic and dendritic compartments were varied by varying  and.  The value of  was varied from 0.0005 cm to 0.06 cm while was 0.04 cm.  The percent actual capacitance for the current step method was 100% for all of the values of surface area that were tested.  The percent actual capacitance for the other two methods was greater than 95% for all values of surface area.  This accuracy may be due to the fact that the recordings were taken in the somatic compartment, which was the compartment whose surface area was being modified.

In the same model, the value of  was varied from 0.0005 cm to 0.06 cm while  was 0.04 cm.  The percent actual capacitance for the current step method was 100% for all surface area values that were tested, but the accuracy of the voltage step and voltage ramp methods decreased as the surface area increased.  The voltage step method was less accurate than the voltage ramp method.

Also in the same model, the diameter of the connecting cable () was varied from 0.00008 cm to .008 cm while l was 0.06 cm and  and were 0.04 cm.  For smaller values of, all of the methods were inaccurate.  However, as  increased, each of the methods became more accurate.  The percent actual capacitance for all three methods is 100% for large values of.  The increase in the cross sectional area of the cable provides the current with better access to the rest of the cell, accounting for the increase in accuracy.

Figure10: The three methods were tested on the ball and cylinder model. The plot on the left depicts the effect of increasing the surface area of the somatic compartment on the accuracy of the three methods. The plot on the right depicts the effect of increasing surface area of the dendritic compartment on the accuracy of the three methods.

Figure11: The three methods were tested on the ball and cylinder model. The effect of increasing the diameter of the connecting cable on accuracy of the three methods is depicted here.

In the two-cylinder model, we varied the surface area of the cylindrical dendritic portion by varying its diameter.  The value of  was 0.04 cm,  was 0.001 cm, and l was .06 cm.  The length of the dendritic cylinder was .06 cm, and its diameter was varied from  cm to 0.02 cm.  The percent actual capacitance for the current step method was 100% for all the diameter sizes that were tested.  The voltage step and voltage ramp methods were equally as accurate for smaller diameter sizes.  However, they diverge for larger diameter sizes, and the voltage ramp method provided the least accurate results.

Figure12: The three methods were tested on the two cylinder model. The effect of increasing the surface area of the cylindrical dendritic compartment on accuracy of the three methods is depicted here.

Discussion

The modeling simulations of the three electrophysiological methods showed that the current step method provides the most accurate estimate of Cm.  It was inaccurate only when the diameter of the connecting cable was small.  However, the percent actual capacitance was calculated to be 100% in all of the other situations that were considered.  The accuracy of the current step method can be attributed to its ability to distinguish between the different processes that occur in a cell when current is injected into it.

In a current step experiment, the injected current rapidly dissipates throughout the cell.  It moves away from the point of injection and into the other compartments and distributes along their membranes.  During the initial part of the current injection, there is a rapid change in the voltage of the cell.  This change is evident in the steep portion of the charging curve.  The process that occurs is the equalization of the membrane.  Another process that occurs during a current injection is the charging of the membrane.  It is the slower process of the two processes and is represented by the larger time constant.  Thus, the curve for the voltage rise depicts two distinct phenomena that a two exponential function can distinguish.  The current step method was independent of the shape of the cell.  The equalization and charging processes were distinguishable regardless of the morphology of the cell.

The voltage step and the voltage ramp methods provide less accurate measurements of Cm.  In voltage step experiments the charging curve is nearly rectangular and the amount of current injected into the cell is not constant.  In voltage ramp experiments the voltage of the cell is constantly changing.  Both of these methods involve rapid current injections that represent the capacitive current.  Yet, due to the continuous, non-constant manner in which current is injected into the cell, both of these methods provide no explicit way of distinguishing between the simultaneously occurring processes of equalization and the charging of the membrane.  Although it was shown that the voltage step and voltage ramp method are innacurate despite the morphology of the cell, there is not enough evidence to rule out the possibility that the shape of the cell affects these measurements.

A more convincing argument about the accuracy of these three methods would entail creating more complex models of the cell.  Models that contain multiple cylinders would better represent the neuron and provide a clearer picture of what is actually occurs in the cell.

References

Gentet, L.J., Stuart, G.J., and Clements, J.D. 2000. Direct measurement of specific membrane

capacitance in neurons. Biophys. J. 79:314-320.

Golowasch, J., and Marder, E. 1992. Ionic currents of the lateral pyloric neuron of the

stomatogastric ganglion of the crab.  J. Neurophyiol. 67:318-331.

Johnston, D. & Wu, S. M.-S. (1995) Foundations of Cellular Neurophysiology (MIT

Press, Cambridge, MA).

Nadeau, H., and Lester, H.A. 2000. Two-compartment model for whole-cell data analysis and

transient compensation. J. Neurosci. Methods. 99:25-35.

Schmitt, B.M., and Koepsell, H. 2002. An improved method for real-time monitoring of

membrane capacitance in Xenopus laevis Oocytes. Biophys. J. 82:1345-1357.

Winslow, R.L., and Miller, R.F. 1989. A theoretical and experimental study of the effects of non-

uniform membrane resistance on the shape of single-cell charging curves. J. Neurosci. 29:761-771.

Acknowledgements

We are grateful to Shunbing Zhao for his help in the experimentation and Lakshmi Chandrasekaran for her help in creating the models.

# Text boxes

Soma

Dendrite

Soma

Dendrite